## Sheet1
TATA MEMORIAL CENTRE ADVANCED CENTRE FOR TREATMENT, RESEARCH & EDUCATION IN CANCER (ACTREC) Kharghar, Navi Mumbai-410 20 (A Grant-in-Aid Institute under Department of Atomic Energy, Govt. of India)
Financial Bid
Tender No: TMC/ACTREC/Engg/SQ-46 / Biometric door access control system / AH/2022-2023
Sub : SITC of Bio matric door access control system for medical record storage room at Animal Facility building , ACTREC campus.
Name Of Agency :
ITEM NO | ITEM DESC | HSN CODE | Qty | UNIT | Rate | Total Amount In Rs. Excluding GST
1 | SITC of Biometric fingerprint based time and attendance + door access control system with RFID technology, power supply adaptor , and have following Special Feature:, INOUT attendance records, Push Data Technology Users: 3000 Fingerprints Card Capacity: 3,000 Transactions: 1,00,000 Communication: RS485, TCP/IP, USB , as per instructions & as directed by O-I-C, ES. |  | 2 | Each
2 | SITC of inside Fingerprint for Time Attendance and Access Control (Inside door access control finger print reader ) |  | 2 | Each
3 | SITC of emergency exit switch Push button type ( installed inside door) |  | 2 | Each
4 | SITC of double door or single door electromagnetic lock |  | 2 | Each
5 | ZL bracket used for Electromagnetic lock support |  | 2 | Each
6 | Installation, commissioning charges for machine and software |  | 2 | Each
7 | Supply of Access proximity cards |  | 50 | Each
8 | Supply & laying of Gigaspeed XL or equivalent CAT-6 cable through provided casing-capping, PVC conduit including all fixing accessories like Rawal plugs , casing capping conduicts bends etc. |  | 305 | Rmt
9 | SITC of 8 Port Gigabit Desktop Network Switch with adaptor and all fixing arrangements on wall , table etc. as per site conditions |  | 1 | Each
Total Amount
CGST %
SGST %
Total Amount with GST
In words ……………………………………………………………………………………………………………………………………..
Note :
Any changes in financial bid format bid gets rejected.
1 | Material shall be procured according to the specifications as mentioned in the schedule. In case, make of the is not mentioned in the item, prior approval shall be obtained from Engineer-in-charge before using alternate make for any kind of item/ material.
2 | The agency is requested to visit the site to know actual scope of work.
3 | Rate shall be basic only and GST will be extra as applicable
4 | Material required at site should be assessed by the agency and bill will not be settled for excess/supplied items.
5 | All the works will have defect liability period of 1 year.
6 | You shall engage supervisor/engineer if any for site co-ordination at your cost.
7 | Material brought to the site for work shall be enclosed at security gate & copy of the same shall be given to engineering dept
8 | Quantity may vary as per site condition
| Date: |  |  |  | sign & seal of contractor