## Sheet1
TATA MEMORIAL CENTRE ADVANCED CENTRE FOR TREATMENT, RESEARCH & EDUCATION IN CANCER (ACTREC) Kharghar, Navi Mumbai-410 20 (A Grant-in-Aid Institute under Department of Atomic Energy, Govt. of India)
Financial Bid
Tender No: TMC/ACTREC/Engg/SQ-47 / Surveillance system / AH/2022-2023
Sub : SITC of CCTV surveillance system for medical storage rooms at Animal Facility building ACTREC Campus.
Name Of Agency :
ITEM NO | ITEM DESC | HSN CODE | Qty | UNIT | Rate | Total Amount In Rs. Excluding GST
1 | SITC of 2MP IP Dome Camera 2.8mm lance, with audio support ,½.8" Progressive Scan, Backlight illuminated CMOS Sensor, IR range up to 30Mtr ,128GB SD card Support Motion detection, including all required fixing and termination accessories as per site requirements as directed by OIC-EIC |  | 10 | Each |  | 0
2 | SITC of 28 Port 10/100/1000 Gigabyte PoE Network Switch with 24 Nos RJ 45 ,10/100/1000 PoE+ ports and 4 combo ports (RJ-45 interface and SFP port ) with SFP module , power cords and mounting accessories and equivalent to technical specification mentioned in tender documents. |  | 1 | Each |  | 0
3 | SITC of Cat6 LAN Cable to be laid in suitable size PVC conduit pipe / casing capping with all fixing accessories like clamps , saddles and other hardwares. |  | 500 | Mtr |  | 0
4 | Supply and fixing of LC LC Fiber patch cord single mode duplex 1 mtr |  | 4 | Each |  | 0
5 | SITC of 24port patch panels suitable for CAT 6 UTP |  | 1 | Each |  | 0
6 | Supply, installation, testing and commissioning of Media Convertor Lc type 1 gig |  | 4 | Each |  | 0
7 | SITC of 1 meter length, UTP patch cord of Cat 6 type |  | 24 | Each |  | 0
8 | Configuration and integration charges for additional cameras with existing system |  | 1 | Each |  | 0
| Total Amount |  |  |  |  | 0
CGST %
SGST %
| Total Amount with GST |  |  |  |  | 0
In words ……………………………………………………………………………………………………………………………………..
Note :
Any changes in financial bid format bid gets rejected.
1 | Material shall be procured according to the specifications as mentioned in the schedule. In case, make of the is not mentioned in the item, prior approval shall be obtained from Engineer-in-charge before using alternate make for any kind of item/ material.
2 | The agency is requested to visit the site to know actual scope of work.
3 | Rate shall be basic only and GST will be extra as applicable
4 | Material required at site should be assessed by the agency and bill will not be settled for excess/supplied items.
5 | All the works will have defect liability period of 1 year.
6 | You shall engage supervisor/engineer if any for site co-ordination at your cost.
7 | Material brought to the site for work shall be enclosed at security gate & copy of the same shall be given to engineering dept
8 | Quantity may vary as per site condition
| Date: |  |  |  | sign & seal of contractor