## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: | Director TMC
Name of Work: | Setting of KS 08 Room for the Proteomics Facility in CRI building at ACTREC
Contract No: | TMC/ACTREC/ENGG/ZS/ET-/Setting of KS 08 Room/2024
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal disposal of unserviceable material outside ACTREC campus as per direction of Engineer-in-charge. | item1 | 50 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | 1 | [39 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | 15 mm cement plaster of mix for wall with ready mix plaster wherever required as per the instructions of Engineer incharge | item2 | 25 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | 1 | [39 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Providing and Applying and Levelling the existing surface with Birla White Cement based / Coloured waterproof Putty of average thickness of 2 mm of approved thickness, brand and manufacture, over the plastered wall surface to prepare the surface even and smooth ready for painting purpose etc complete ( Rate inclusive of Scaffolding Material, Labour Charges) Etc. Only to be applied at distressed areas and newly plastered surface as per the instruction of Engineer incharge. | item3 | 50 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | 1 | [39 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre. of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. 2 coats | item4 | 100 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content along with crack filling if required. | item5 | 100 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. | item6 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | item7 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | GI Metal Ceiling Lay in plain/perforated Tegular edge Global white color tiles of size 595x595 mm, and 0.5 mm thick with 8 mm drop; made of G I sheet having galvanizing of 100 gms/sqm (both sides inclusive) and electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending. | item8 | 20 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Removing of Existing false ceiling including all the components such as wires, tie rods, grids, pattis etc. and stacking the serviceable material anywhere in the campus as directed by EIC. | item9 | 50 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | REMOVING ALUM PARTION WORK Removing old aluminium partition with all fittings transporting to the required place in T.M.C. premises & refixing the same after making the required modification Sqm 318 adding the required aluminium sections at the new site of work including materials labour etc. complete as directed by engineer in charge. | item10 | 60 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Removing of existing ducting including all the components such as wires, tie rods, grids, pattis etc. and stacking the serviceable material anywhere in the campus Removing clearing the site complete,carting away all materials out of the hospital as directed by engineer in chargeas directed by EIC. | item11 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Disconnection and removing wallside panels, removing of existing wirings , casing cappings, conduits , switch sockets , fire alarm system devices , Fire Fighting system, PA speakers , cameras, IT WIFI devices ,AC grills and diffusers and other electrical accessories fixed in existing false ceiling. The rates also includes refixing of existing fire alarm devices , PA Speakers , cameras IT wifi devices, Ac grills, AC diffusers and all other service exisiting false ceiling. | item12 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13 | LAB TABLE 1400 x 1200 mm Providing, fabricating, Supplying and fixing at required location Lab table installation. Table consist of Table top formed out of 20 mm thick polished Jet Black / Telephone granite stone in first quality without any spot and crackless. All the Granite joints shall be filled in with adhesive material matching to granite colour. The back material of granite shall be 8 mm thick marine plywood used for granite as a back support. The exposed edges of granite top shall be rounded type molding and mirror finished polished of approved profile of 800 mm-1000mm height. Sample of Granite shall be get approved from EIC before procurement in bulk quantity. The storage Cabinets are made of CRCA 18 Gauge Steel Powder coating pure epoxy, thickness 40-50 microns in panel construction comprising of one drawer - one shutter shall be open with groove pull system. High quality SS hinges for the shutter & door. Doors should be assembled with SS-304 hinge assembly. Drawer Glides: The drawer should have Telescopic channels of Hafle or Equivalent make for smooth movement. Cabinets shall be detachable mounted on lockable wheels with a roller mechanism Mobile type and all interior arrangements of shelves and drawers Provision of Storage cabinets (LT 1- 5 Nos), suitable to position indicated. Stainless steel 20 mm thick reagent rack 450 mm W X 750 H in double tier design consisting of 60*30*2mm rectangular SS frame. Height adjustable shelves should be provided between uprights which are independent from the floor. The ends and intermediate vertical supports should be 2mm thick aluminum extrusion with MS brackets of 2 mm thick. Understructure Main & bracing member’s Stainless steel hollow section 60 x 30 mm with 2 mm thick two C‐FRAME SYSTEM with adjustable feet (tolerance from ‐5mm to +20mm) to correct the unevenness of flooring. The structure should have a removable back panel to provide access for maintenance throughout the length of table. Steel Frame structure of table shall be made of CRCA MS with pure epoxy powder coating 45-50 Microns and are of 1mm thickness. Electrical fittings Sockets and switches complete with internal wiring. Fittings should be mounted on electrical trunk. Individual Electrical socket with piano switch 6/16 AMP Northwest / Norisys make or equivalent. Including LED light for full table at upright side.. Base Skirting & Jacks for level adjustment. For one person, one part cabinet and one part can be left for leg space. Design should be prepared and get it approved from EIC, ACTREC. | item13 | 2 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14 | WOODEN CABINET 600 mm width Providing & fixing cabinet made up of 19 mm. Commercial ply of approved make for top, bottom, sides & shelves & 8 mm commercial ply approved make for back side Door shutter made up of 19 mm thick commercial ply and outer surfaces and top of shelves for open type cabinet should be laminated with 1.5 mm thick approved plastic laminate sheet of required colour including all brass fittings such as hinges, tower bolts, ball catches, stopper, SS handle 4”, kNosbs ,approved by Engineer-In-Charge etc. and all exposed edges lipping with 6mm Thick T.W. lipping patti locking arrangement with Godrej multipurpose lock etc. all complete as specified & directed by Engineer-In-Charge.( Full height storage and Low height floor mounted storage). Design should be prepared as per actual measurement and get it approved from EIC, ACTREC. | item14 | 10 | SQM |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | COMPUTETR TABLE Providing making & supplying computer table made out fo 19mm commercial ply for table top, mounted on the vertical side fo 19mm commercial ply and cabinet made out of 19mm commercial ply for sides, shelves & shutters making concealed monitor arrangement by providing 8mm thick clear glass on table top of required size with edge polish as shown in drawing drawer and ready made key board drawer with heavy sliding channels with powder coated handle for shutter,cable manager drawers all edges shall be lipped with 6mm thick T.W. lipping patti. All exposed faces should be 1.5mm thk laminate of approved colour and non laminated area should be french polished inclu. cost of other materials labor etc. as per drawing and as specified and directed by Engineer-In-Charge. | item15 | 6 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16 | Providing & fixing Roller blinds (Premium quality) of approved make with heavy duty roller brackets & necessary fixtures. Warranty for roller mechanism & others accessaries shall be for One year from date of installation. [AS PER SAMPLE AVAILABLE AT SITE] [Payment will be made on actual Mesurement basis. Windows mesurement to be taken before installation of roller blinds for achieving one piece work.] | item16 | 250 | Sqft |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | ALUMINUM PARTITION WORKProviding & fixing alumimium partition to the required height partly glazed and partly panneled or fully glazed or fully panneled using aluminium section finish anodizing of required size for bottom, top, middle & vertical rails at required intervals panneling with 12mm thick Nosva pan or ancholam both side pre-laminatd board fixed with sloping aluminium beeding alround with neoprine gasket glazing with 5.5mm forsted/ bajri/ plain glass of approved make, fixed with alumimium channel beeding two way PVC lining/ rubber gasket to ensure water tightness and Nos rattaling including providinG necessary cover mould using suitable alumimium section so as to take care of gaps between the walls/ ceiling / flooring and partitions etc. including providing and fixing necessary fittings as specified and directed.Partly (glazed partly panneled). | item17 | 70 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | ALUMINUM SLIDING DOORProviding and fixing sliding door to consist of partly glazed panneled / fully panneled / fully glazed with using 5.5mm thick glass sheet of approved make and quality plain/ forsted / bajri glass of approved make M/S. Triveni/Shri. Vallabh /J/A/J pilkinten fixed with aluminium slopping channel beeding with two nay PVC lining/rubber gasket to ensure water tightness and Nos rattaling and panneling with 12mm thick Nosva pan or ancholam board prelami rated on both side as required 15 section, guiding rail section 2635, vertical rails section 4506 including providing PVC Guidrails of six 12mm x75mm Partly glazed partly panneled all as specified and directed by Engineer-in-Charge. | item18 | 25 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19 | Core Cutting for holes upto 100 mm in size clean with cleaning of debris and carting it away from ACTREC premises or dumping as per the instructions of engineer- in charge. Cleaning of dust caused due to core cutting is also in the scope of contractor. | item19 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20 | Removing the existing PVC flooring alongwith handing over servicable material and disposal of waste as per instruction of Engineer in charge. | item20 | 600 | Sqft |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21 | Providing & laying poly vinyl chloride (PVC) rolls flooring manufactured of approved make and approved pattern for flooring, skirting/dado laid on existing cement tile or concrete of plastered floor finish with suitable adhesive as per manufacturers specifications close jointed and finished to proper bends, slopes and plumbs as directed etc. complete generally as per manufacturer’s specifications. 2 mm thick PVC flooring. | item21 | 600 | Sqft |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
22 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item22 | 500 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
23 | Providing and fixing sun control films 1.5 mil thick garware film on window glasess without damaging rubber gaskets, handle , friction hinged etc complete including neccesary scafolding job is to be complited as per garware film specification and as directed by EIC. | item23 | 250 | Sqft |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
24 | S.S. SINK: - Providing and fixing in position Stainless Steel sink with drain board of approved make only resting over bracket with waste coupling including fabricating bracket from 'B' class GI pipe with necessary cuddapha, granite, welding, chiselling in wall and fixing the sink in position with waste coupling, bottle trap, all complete as per the specified and directed by engineer-in charge. with necessary plumbing fittings and accessories as directed by EIC. | item24 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
25 | Providing and fixing trap door of metal false ceiling with clip system with metal panels more than 600*600mm with nitrile rubble insulation as per the specification and instruction of engineer incharge including all hinges, locks, bolts etc required to complete the work. | item25 | 15 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
26 | PLYWOOD Providing & fixing approved quality machine pressed phenol formaldehyde bonded commercial/marine ply wood of approved size and fixing the same with necessary nails/screws/adhesive in partition cupboard shelves/ktichen cabinets/flush doors etc. at all floors and locations in quantities as required at site in following thickness including 6 mm thick T.W.lipping patti at all exposed edges with nails/screws/hardwares/adhesive wastage in cutting , transportation etc. complete all as directed by the Engineer-In-Charge. 19mm thick ply | item26 | 10 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
27 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | item27 | 20 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
28 | Designing, fabricating, testing, installing and fixing in position Curtain Wall with Aluminium Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels etc. including: | item28 | 50 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
29 | Supply, installation ,testing & commissioning the following cable on wall/floor/ceiling/structure member / through excavations or on cable trays or down through PVC pipes, using MS spacers and GI saddles, cable clamp etc. complete in all respect. Cable, conforming to IS: 1554/Part 1/1998, XLPE, Aluminium stranded conductor, armoured, 1100 V class | item29 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
30 | 3.5 c x 95 sqmm A2XFY Aluminium Conductor armoured | item30 | 35 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
31 | Supply ,Installation,Testing & Commisioning of end termination with brass compression gland and aluminium lugs for 3.5 x 300sqmm cable of PVC insulated and PVC Sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required. for 300sqmm cable as per technical specifications mentioned in tender | item31 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
32 | SITC of cable gland for 3.5 X 95 sqmm aluminium cable | item32 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
33 | SITC of 95 sqmm lug | item33 | 8 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
34 | DISTRIBUTION BOARDS Supply, installation, testing & commissioning of 500V Distribution Boards as specified, 'i) Copper busbars with tapped neutral bar for individual phases. , copper earth strip with tapping for EEC , Interconnections, and earthing. Sheet steel enclosure suitable for recessed or surface mounting with hinged lockable doors interlocked. The thickness of 1.6mm, Phase to phase barriers in case of 3Ph boards. , 'vii) Necessary MS support frame & painting, labelling etc. complete. | item34 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
35 | Supplying and fixing surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of VTPN DB 250 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB’s, with provision of Incoming 160 amps TP + Neutral 16 KA MCCB and Outgoing, 63 A TPN MCB Qty 06 Nos and 40 A TPN MCB Qty 04 Nos,25 A SP MCB Qty 06 Nos interconnection between incomer MCCB and bus bars as required and outgoing MCB. (Note: Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item35 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
36 | Supplying and fixing following ratings 240/415 volts, “C” curve, miniature circuit breaker suitable for inductive load of following poles including metal enclosure box , earthing and fixing accessories with connections,Testing and commissioning etc. as required. As per technical specifications in tender. | item36 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
37 | 63A TPN MCB including enclosure box for UPS input | item37 | 4 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
38 | 40 TPN MCB including enclosure box for AC | item38 | 3 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
39 | 25 Amps DP MCB C Curve + Earth including enclosure | item39 | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
40 | 63 Amps DP MCB C Curve + Earth including enclosure box UPS output | item40 | 5 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
41 | Wiring for circuit/sub main wiring along with earth wire with the 2 X 4 sq. mm + 1 X 4 sq. mm earth wire sizes of FRLS PVC insulated copper conductor, single core cable including surface/ recessed medium class PVC conduit/ casing capping, bends and all fixing accessories as required. | item41 | 60 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
42 | Wiring for circuit/ submain wiring alongwith earth wire with the 2 X 6 sq. mm + 1 X 6 sq. mm earth wire sizes of FRLS PVC insulated copper conductor, single core cable including surface/ recessed medium class PVC conduits /casing capping, bends, and all fixing accessoreis as required. | item42 | 150 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
43 | Wiring for the circuit with 10 sq. mm sizes of FRLS PVC insulated copper conductor, single core cable provided surface/ recessed medium class PVC conduits, for ups connection. | item43 | 160 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
44 | Supplying & erecting crimping type copper lugs confirming to IS suitable for cables up to 16 sq. mm evenly crimped with high pressure tools & connected to switch gear terminals with brass/ cadmium plated nut bolts in an approved manners. all as directed by O-I-C, ES | item44 | 60 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
45 | Supply and lay the 25 mm PVC flexible conduit conforming to ISI standards with the required number of couplings, PVC bushes, check nuts, etc. Complete all as per instruction of EIC. | item45 | 70 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
46 | Point wiring for lighting | item46 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
47 | Supply, Installation, Testing & Commisioning of 24W surface type LED lighting fixture having pressure die-cast aluminimum housing with white front bottom frame suitable to the following features. -In-built electronic LED pre-wired driver, --High Surge Protection:-2.5kV. -High diffuser>85%, -CRI>80,THD<10%. -High Efficacy greater than or equal to 100 lm/watt, -Operatable voltage - 220-240 V,50 Hz, PF>0.9, -Colour Temperature greater than or equal to 4000K to 5000K, LED surface square type, seemless, high efficiency, and premium range as per technical specification directed by OIC - ES | item47 | 15 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
48 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed including medium class PVC conduit / casing capping , with modular switch, modular plate, suitable GI box , ceiling fan rose and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group A | item48 | 10 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
49 | Secondary point wiring light to light looping with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. including PVC conduits , Bends and all fixing accessories. | item49 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
50 | Power Points | item50 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
51 | Supplying and fixing the following size/ modules, PVC box along with modular base & cover plate for modular switches in surface / concealed, etc. as required. Including finishing of the same for concealed fixing with cement, and final painting as per actual. | item51 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
52 | 1 or 2 Module | item52 | 12 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
53 | 8 Module | item53 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
54 | 6 Module | item54 | 30 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
55 | Supplying and fixing the following size/ modules, PVC box along with modular base & cover plate for modular switches in surface / concealed, etc. as required. Including finishing of the same for concealed fixing with cement, and final painting as per actual. | item55 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
56 | Modular switch 6A/16A | item56 | 80 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
57 | Modular Socket 6A/16A | item57 | 90 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
58 | DATA /IP Telephone | item58 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
59 | SITC of Cat 6 type I/O with RJ 45/11 socket with Box, faceplate and fixing screws, having the compliance/certifications for ISO 9001:2015 & ROHS | item59 | 12 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
60 | Supply & laying of CAT-6 cable through provided casing-capping, PVC conduit all as directed by O-I-C, ES | item60 | 610 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
61 | Supply & Fixing of 25 mm size PVC rigid conduit/ 1 inch casing capping with spacers & saddles screws, rawal plug etc. along with all accessories complete in all respect on any hard surface/wall/trench/ceiling etc. Compete as per instruction of EIC. | item61 | 300 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
62 | Earthing | item62 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
63 | SITC of Tinned copper earth plate electrode 600 x 600 x 3.15 mm earth station, 2.5 mtr below ground level , 02 Nos copper strip 25mm x 5mm 2.5Mtr from earthing plate to chamber , as per drawing complete with all required materials like Cole, charcoal, salt, brass nut bolts & washers, watering arrangements, GI pipe (B class), concrete chamber, heavy duty cast iron cover plate & excavation in all types of soil in ground refilling & removal excess earth within a radius of 500 mtr. Etc. Note:1.The chamber cover & plate shall be of heavy-duty hinged type & it shall weigh approx. 65 to 75 Kgs. For 450 x 450 mm size & shall be got approved by dept. (6 mm chequred plate with 40 x 40 x 6 mm angle iron frame)2.Plastering shall be done both inside & out side.3.The measurement of resistance of earth station & resistance of complete scheme of earthing layout shall be measured, recorded & got approved by Engg-in-charge. | item63 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
64 | Supply, Installation, Testing and commissioning of 25 mm x 3 mm COPPER strip on surface or in recess for connections etc as required | item64 | 50 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
65 | Ductable AC | item65 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
66 | Supply, installing, testing and commissioning of DX air cooled air conditioning units non-Inverter type as described in specifications. The unit shall be complete with decorative type Indoor coil unit and external condensing unit, complete in all respects, inclusive of complete working charge of HFC-410a/ R-32 or any eco friendly gas and oil, copper refrigerant piping, GI condensate drain piping, valves and insulation quoted price shall include cost of cooling thermostat, power wiring, control wiring and earthing. the price including of stand of Indoor units & out door units, Refrigerant charging, top up and anti-corrosion epoxy resin coating on ODU units etc. Note:- No additional cost for the outdoor unit stand. The price should be include the same as require. The unit capacities shall be as follows: | item66 | 3 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
67 | 5.5TR | item67 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
68 | Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of following nominal sizes of soft/hard drawn copper refrigerant piping complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories,insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastomeric nitrile rubber with GC cloth tubular sleeves sections of specified thickness as given below for Suction and Liquidlines, all accessories as per specifications etc. Note:- individual piping will not be measured All pipe should be laid in ladder/perforated type tray. External pipe should be cover with GI caping cable tray. | item68 | 80 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
69 | 1/2",7/8" with 1.2mm tube thickness and insulation as per OEM standard. Or equivelent to the unit of 5.5 TR | item69 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
70 | Supply, Installation, Testing and commissioning of PVC (minimum 15kg/sqcm pressure rated) drain water piping complete with fittings(elbows, tees, reducers,sockets,u trap etc.) supports, jointing insulated with XLPE class O tubular insulation and any other item required to make the system complete. Nominal diameters of pipe in mms as indicated below: | item70 | 40 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
71 | 32 mm dia pipe, Insulation thickness - 19 mm | item71 | 30 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
72 | 25 mm dia pipe, Insulation thickness - 19 mm | item72 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
73 | Supply, laying & termination of copper cable from Departmental power supply to IDU & between IDU and ODU unit. Complete with lug fitting, ferruling, gland fitting etc. All Cable should be laid in GI cable tray. | item73 | 60 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
74 | 4C x 4 sqmm | item74 | 60 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
75 | 4C x 1.5 sqmm | item75 | 20 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
76 | 4C x 6 sqmm | item76 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
77 | Design, Supply, installation, balancing and commissioning of factory fabricated GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications and as per SMACNA standard of following sheet thickness complete as required. Hot dipped Galvanised with 120GSM Zinc coatingThe price shall include necessary scaffolding required for working at required height. | item77 | 50 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
78 | Thickness: 0.63 mm Sheet | item78 | 10 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
79 | Thickness: 0.8 mm Sheet | item79 | 60 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
80 | Supplying and fixing of following thickness duly laminated aluminum foil of mat finish closed cell Nitrile rubber (Class "O") insulation on existing duct after applying suitable adhesive for Nitrile rubber. The joints shall be sealed with 50 mm wide and 3 mm thick self adhesive nitrile rubber tape insulation complete as per specifications and as required | item80 | 3 | sqmtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
81 | SITC of Extruded aluminium powder coated diffuser/ Grill with volume control damper with all necessary supports as per directed and as instructed by OIC-ES | item81 | 3 | sqmtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
82 | Supply, installation, testing and commissioning of GI volume control duct damper/Non Return damper 18 guage GI. frame & 20 guage GI blades complete with neoprene rubber gaskets, nuts, bolts, screws linkages, flanges etc, as per specifications. | item82 | 3 | sqmtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
83 | supply and fix returnable grill aluminum powder-coated with all necessary supports as directed and as instructed by OIC-ES | item83 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
84 | Dismantling & Shifting of scrap yard of old GI ducting, diffuser, grill, volume control damper, / non-returnable control damper as per instruction and as directed by OIC-ES | item84 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
85 | Dismatling Split Unit as per instruction and as directed by OIC-ES | item85 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
86 | Re-installtion of Split Units including gas charging and commissioning as per instruction and as directed by OIC-ES | item86 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
87 | SITC of drain pump as per instruction and as directed by OIC-ES | item87 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words | [51 empty] | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information