## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Director ACTREC
Name of Work: “Maintenance work of pump House at ACTREC.”
Contract No: TMC/ACTREC/ENGG/SB/SQ-05/Maintenance of Pump House/2025.
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete. | item2 | 875 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3 | Providing and applying grease for any type and any size of valve,including valve disassembly, cleaning, lubrication, and reassembly & it should be functioning smooth as per instruction & satisfaction of Engineering In charge. | item4 | 24 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4 | SITC of CI double acting Air valve for connection in exsiting pipe line with all necessary fanges,hardware, supports etc as per instruction and as directted by OIC-ES. | item6 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5 | 100 mm dia | item7 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6 | Providing and fixing expansion hold fasteners on C.C. /R.C.C. /Brick masonry surface backing including drilling necessary holes and the cost of bolt etc complete. | item9
7 | Fastener with threaded dia 12 mm | item10 | 8 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8 | Providing and Fixing Float valve high pressure with fitting standard quality with epoxy coated All-around & HD ball with rod & ball, etc as per instruction and as directted by OIC-ES. | item12 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9 | Providing & Fixing available SS Pipe etc as per instruction and as directted by OIC-ES. | item14
10 | 150MM N.B. | item15 | 3.1 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
11 | Supplying ,erecting, testing and commissioning of minimum three & above star rated centrifugal water pump (monoblock), 230V, single phase, 50HZ,A.C. Supply of 0.375 kw/0.5 HP with discharge 36/9 lpm for head of 6/21 m & 25mm suction /25mm delivery pipe on provided CC foundation as per specification no. WP-CGP | item17 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
12 | Repairing of any size of Valves Removing, repairing, reinstallation, testing & commissioning of existing butterfly / globe / three way / non-return / gate / air vent valves of any sizes. The maintenance includes complete overhauling, replacement of flange gaskets on both flange sides of pipe, new nut bolts washers, gland packing replacement & any another damaged components etc up to smooth functioning of valve as per instruction & satisfaction of Engineering In charge. | item19 | 14 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
13 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item21 | 190 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
14 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item23 | [5 empty] | Excess(+) | 1 | Full Conversion | INR
15 | One or more coats on old work. | item24 | 190 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures | [51 empty] | 0 | 0
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information